## 1. Executive Summary
Couchbase Capella ¦ Disaster Recovery Strategy ¦ Real Cost Edition
Primary: Azure Central US (Iowa) ¦ DR: Azure East US 2 ¦ Cluster: PRDCCDMAZCEN_001 ¦ Server: 7.6.8 ¦ Support: Enterprise
RTO Target | 1 hr (conservative: 1 hr 30 min)
RPO Target | 30 minutes
Replication | XDCR via VNet Peering – same subscription, cross-region
Backup Schedule | Hourly (Capella managed)
Cost Basis | Capella-provided credit estimates (real figures from UI screenshots)
DR STRATEGY OPTIONS – REAL CAPELLA CREDIT COSTS
Option | Strategy | Nodes | Monthly Credits | Monthly PAYG | Savings (Credits) | Savings % | RTO Met? | RPO Met? | Verdict
A | Full Mirror – Always On (Status Quo) | 14 | 22849.26 | 39988.8 | 0 | 0% | YES | YES | Safest. Full cost. Required if compliance mandates it.
B | Horizontal Scale-Down – 9 nodes, same vCPU [RECOMMENDED] | 9 | 15110.9 | 26445.6 | 7738.36 | 33.87% | YES | YES | RECOMMENDED: 33.9% credit savings. RTO met with Capella SLA.
C | Vertical Scale-Down – 12 nodes, reduced vCPU | 12 | 13593.25 | 23788.8 | 9256.01 | 40.51% | YES | YES | 40.5% savings but reduced per-node compute. Review performance impact.
D | Scheduled On/Off + Backup Restore | 0 | ~4,570 est. | ~8,000 est. | ~$9,256 est. | ~40% | NO | NO | NOT RECOMMENDED: Fails RTO (3–6 hr) and RPO (up to 60 min).
IMPORTANT – Data disk note: Images 2 and 3 show Data group disk changed to 2048GB P40 (up from 1024GB P30 in primary). Confirm whether this was intentional before applying either scale-down config to DR. If disk stays at 1024GB P30, credits will be slightly lower.

## 2. Cluster Configs
Cluster Configurations – Primary vs All DR Options ¦ PRDCCDMAZCEN_001
PRIMARY CLUSTER (Current – Baseline)
Total Nodes | 14 | Monthly Credits | 22849.26 | Monthly PAYG | 39988.8
Group | Role | Nodes | vCPU/Node | RAM/Node | Disk (GB) | IOPS | Disk Type
Service Group 1 | Data | 5 | 32vCPU | 64GB | 1024GB | 5000 | P30
Service Group 2 | Index | 3 | 32vCPU | 64GB | 256GB | 1100 | P15
Service Group 3 | Query | 3 | 16vCPU | 64GB | 64GB | 240 | P6
Service Group 4 | Eventing | 3 | 16vCPU | 64GB | 128GB | 500 | P10
OPTION A – Full Mirror (Same as Primary, Always On)
Total Nodes | 14 | Monthly Credits | 22849.26 | Monthly PAYG | 39988.8
Group | Role | Nodes | vCPU/Node | RAM/Node | Disk (GB) | IOPS | Disk Type
Service Group 1 | Data | 5 | 32vCPU | 64GB | 1024GB | 5000 | P30
Service Group 2 | Index | 3 | 32vCPU | 64GB | 256GB | 1100 | P15
Service Group 3 | Query | 3 | 16vCPU | 64GB | 64GB | 240 | P6
Service Group 4 | Eventing | 3 | 16vCPU | 64GB | 128GB | 500 | P10
OPTION B – Horizontal Scale-Down (9 nodes, same vCPU) [RECOMMENDED]
Total Nodes | 9 | Monthly Credits | 15110.9 | Monthly PAYG | 26445.6 | Savings vs Primary | 7738.36 | 33.87%
* NOTE: Data disk changed to 2048GB P40 in Capella estimate – confirm if intentional
Group | Role | Nodes | vCPU/Node | RAM/Node | Disk (GB) | IOPS | Disk Type
Service Group 1 | Data | 3 | 32vCPU | 64GB | 2048GB | 7500 | P40*
Service Group 2 | Index | 2 | 32vCPU | 64GB | 256GB | 1100 | P15
Service Group 3 | Query | 2 | 16vCPU | 64GB | 64GB | 240 | P6
Service Group 4 | Eventing | 2 | 16vCPU | 64GB | 128GB | 500 | P10
OPTION C – Vertical Scale-Down (12 nodes, smaller vCPU per node)
Total Nodes | 12 | Monthly Credits | 13593.25 | Monthly PAYG | 23788.8 | Savings vs Primary | 9256.01 | 40.51%
* NOTE: Data disk changed to 2048GB P40 in Capella estimate – confirm if intentional
Group | Role | Nodes | vCPU/Node | RAM/Node | Disk (GB) | IOPS | Disk Type
Service Group 1 | Data | 5 | 16vCPU | 64GB | 2048GB | 7500 | P40*
Service Group 2 | Index | 3 | 16vCPU | 64GB | 256GB | 1100 | P15
Service Group 3 | Query | 2 | 8vCPU | 64GB | 64GB | 240 | P6
Service Group 4 | Eventing | 2 | 8vCPU | 64GB | 128GB | 500 | P10

## 3. Cost Comparison
Cost Comparison ¦ Real Capella Credit Estimates ¦ All figures from Capella UI
MONTHLY COST – CREDITS vs PAY-AS-YOU-GO
Metric | Option A Full Mirror 14 nodes | Option B Horiz Scale-Down 9 nodes [REC] | Option C Vert Scale-Down 12 nodes | Option D Scheduled On/Off (est.)
Monthly Credits (from Capella UI) | 22849.26 | 15110.9 | 13593.25 | ~4,570 est.
Monthly Pay-As-You-Go ($) | 39988.8 | 26445.6 | 23788.8 | ~8,000 est.
Credit Savings vs Option A | 0 | 7738.36 | 9256.01 | ~18,279 est.
Savings % | 0 | 33.87% | 40.51% | ~80% est.
Annual Credits | 274191.12 | 181330.8 | 163119 | ~54,840 est.
Annual Savings vs Option A | 0 | 92860.32 | 111072.12 | ~219,348 est.
HORIZONTAL vs VERTICAL SCALING – TRADE-OFF ANALYSIS
Dimension | Horizontal Scale-Down (Option B – 9 nodes, same vCPU) | Vertical Scale-Down (Option C – 12 nodes, reduced vCPU)
Monthly Credit Cost | 15,110.90 | 13,593.25
Credit Savings vs Primary | 7,738.36 (33.9%) | 9,256.01 (40.5%)
Total DR Nodes | 9 | 12
Data Nodes | 3 (minimum HA) | 5 (same as primary)
vCPU per Data Node | 32 vCPU (same as primary) | 16 vCPU (half of primary)
vCPU per Query/Eventing Node | 16 vCPU (same as primary) | 8 vCPU (half of primary)
Compute headroom on DR event | Full capacity from minute 1 | Reduced – may degrade under full load
Index warm-up risk | Lower (fewer changes) | Moderate (vCPU half = slower warm-up)
Scale-up complexity on DR | Add 5 nodes (same spec) | Add nodes AND upgrade vCPU size
Replication factor risk | High – 3 Data nodes, check numReplicas | Low – 5 Data nodes, same as primary
Capella SLA dependency | High – need scale-up SLA for RTO | Moderate – more nodes in DR already
Recommended for this RTO/RPO | YES – with Capella SLA | MAYBE – if Capella SLA not available
ANNUAL SAVINGS PROJECTION (Credits)
Year | Option A (Full Mirror) | Option B (9 nodes) | Option C (12 nodes) | Opt B vs A (Cumulative) | Opt C vs A (Cumulative)
Year 1 | 274191.12 | 181330.8 | 163119 | 92860.32 | 111072.12
Year 2 | 548382.24 | 362661.6 | 326238 | 185720.64 | 222144.24
Year 3 | 822573.36 | 543992.4 | 489357 | 278580.96 | 333216.36

## 4. Network & Egress
Network & Egress ¦ XDCR via VNet Peering ¦ Central US ↔ East US 2
AZURE VNET PEERING EGRESS RATES
Type | Scope | Rate $/GB | Your Config | Notes
Intra-region VNet peering | Same region | $0.010 | No | Not your setup
Cross-region VNet peering – Outbound | Central US → East US 2 | $0.035 | YES – XDCR traffic | This is what your XDCR pays. Billed per GB leaving Central US.
Cross-region VNet peering – Inbound | East US 2 ← Central US | $0.000 | YES (inbound free) | Inbound is always free in Azure VNet peering.
Private Endpoint (same region) | Same region | $0.010 | No | Not applicable
Internet Egress | Any | $0.087 | No – private EP used | You are protected by private endpoint. No public internet egress.
XDCR EGRESS COST ESTIMATOR (update blue cells)
Daily XDCR replication volume (GB/day) | 100 | GB/day | Pull from Capella Monitoring → Cluster → XDCR tab
Days per month | 30 | days | Fixed
VNet peering egress rate (Central US → East US 2) | 0.035 | $/GB | Azure pricing – cross-region VNet peering as of 2025
Monthly GB Transferred | 3000 | GB/month
Estimated Monthly Egress Cost | 105 | per month | NOTE: This cost is SEPARATE from Capella credits – billed directly by Azure.
QUESTIONS TO CONFIRM WITH CAPELLA & AZURE TEAM
Q1 | Does Capella credits cost include underlying Azure VNet peering/egress, or is that billed separately via Azure Cost Management?
Q2 | What is the actual daily XDCR replication volume (GB/day)? Pull from Capella Monitoring to replace the 100GB/day assumption above.
Q3 | Is XDCR one-way (Primary → DR) or bi-directional? Bi-directional doubles egress cost.
Q4 | Are the 9 or 12 nodes in East US 2 already provisioned and idle, or will they need to be spun up from the shared pool during a DR event?
Q5 | Can Capella commit to a scale-up SLA (additional 5 nodes within 60 min) for Option B? Is there a contractual mechanism for this?
Q6 | The Data group disk changed to 2048GB P40 in the scale-down estimates. Was this intentional? If not, revert to 1024GB P30 and re-check credit estimate.

## 5. Risk Matrix
Risk Matrix ¦ DR Strategy Assessment
Risk | Description | Option A Full Mirror | Option B Horiz [REC] | Option C Vert | Option D On/Off
RTO Compliance | Failing 1h30m RTO during actual DR event | Low | High | Medium | Critical
RPO Compliance | Data loss exceeding 30 min RPO | Low | Low | Low | High
Azure Capacity | East US 2 capacity unavailable at DR event time | Low | High | Low | High
Capella Provisioning | P1 resolution exceeds 60 min for scale-up | Low | High | Medium | High
Cost Efficiency | Paying for idle compute with no business value | High | Medium | Medium | Low
XDCR Lag | Replication lag exceeds RPO due to network/bug | Low | Low | Low | Critical
Index Warm-up | Couchbase index rebuild delays query after failover | Low | Medium | High | High
Compliance / Audit | DR config rejected by SOC2/PCI/HIPAA auditors | Low | Medium | Low | High
Runbook Complexity | Human error risk during high-pressure DR event | Low | Medium | Medium | High
Data Node Min (numReplicas) | 3 Data nodes may violate numReplicas setting | Low | High | Low | Critical
vCPU Reduction Impact | Reduced per-node compute causing DR perf issues | Low | Low | High | Critical
CRITICAL CHECK BEFORE DEPLOYING OPTION B OR C: Run 'cbstats <node> all ¦ grep num_replicas' on the primary cluster. If numReplicas = 2, minimum 3 Data nodes are required (Option B: OK). If numReplicas = 3, minimum 4 Data nodes are required (Option B: FAILS – increase to 4). Option C keeps 5 Data nodes so is safe regardless.

## 6. Action Plan
Action Plan ¦ Recommended: Option B (9 nodes) with Capella Scale-Up SLA
# | Action Item | Owner | Target | Status | Notes
IMMEDIATE – Before Go-Live (2 weeks)
1 | Confirm bucket numReplicas on primary. If = 3, Option B needs 4 Data nodes. | DB Admin | Week 1 | OPEN | Run: cbstats <node> all ¦ grep num_replicas
2 | Confirm Data group disk: was 2048GB P40 intentional for DR, or revert to 1024GB P30? | Infra | Week 1 | OPEN | Affects credit estimate. If revert, re-pull Capella cost estimate.
3 | Pull actual XDCR replication volume from Capella Monitoring (GB/day). | Infra / Cloud | Week 1 | OPEN | Update cell C in Sheet 4 Egress Estimator with real number.
4 | Confirm with Capella: are the East US 2 nodes physically reserved or in shared pool? | Capella Account Team | Week 1 | OPEN | This is the single biggest risk factor for Option B's RTO.
5 | Negotiate Capella SLA: scale-up 5 nodes within 60 min on P1 for DR event. | Capella Account Team | Week 1 | OPEN | Without this, Option B does not reliably meet RTO. Fall back to Option A.
6 | Confirm compliance requirements (SOC2, PCI, HIPAA) with security team. | Security / Compliance | Week 1 | OPEN | May mandate Option A regardless of cost savings.
GO-LIVE WEEK
7 | Decision gate: present this workbook to stakeholders. Select Option A, B, or C. | Architecture / Management | Go-Live | OPEN | All inputs from steps 1–6 must be resolved before this gate.
8 | If Option B: scale DR from 14 → 9 nodes. Sequence: Eventing → Query → Index → Data. | Infra / Capella | Go-Live | OPEN | Validate XDCR lag stays < 5 min after each node removal.
9 | If Option C: reduce vCPUs. Sequence: Query/Eventing first, then Index, then Data. | Infra / Capella | Go-Live | OPEN | Monitor query latency after each vCPU reduction.
10 | Complete and rehearse DR runbook: trigger → P1 → Capella → scale-up → DNS cutover. | Infra / DB Admin | Go-Live | OPEN | RTO clock starts at incident declaration. Every manual step costs time.
11 | Conduct DR failover drill within 30 days of go-live. | Infra / Operations | Go-Live +30d | OPEN | Test both the runbook and the Capella scale-up SLA in practice.
ONGOING
12 | Review Azure Cost Management monthly for VNet peering / egress charges. | Cloud FinOps | Monthly | OPEN | Alert if egress exceeds 2x estimate – may indicate XDCR misconfiguration.
13 | Review Capella credit burn and reserved capacity quarterly. | Infra / Capella | Quarterly | OPEN | Confirm 50% reservation is still contractually active.
14 | Re-evaluate DR strategy if primary cluster scales beyond current config. | Architecture | As needed | OPEN | Any primary node or vCPU increase must be reflected in DR sizing.